Chemical Engineering 374

Homework 25

We want to pump water at 60°F from one reservoir to another 120 ft higher through 1500 ft of 16-in-ID pipe with friction factor f=.030. We have two 32-inch pumps from the family of pump curves shown below. Should we use just one pump or, alternatively, use both pumps configured in parallel? Justify your answer by determining the flow and power required for both cases.